{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Priklad","Vysledky","Mapa","Graf1"],"not_rendered":{"charts":2,"images":3,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Graf1","index":3,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Priklad","index":0,"n_rows":18,"n_cols":18,"rows_kept":18,"cut":false,"hidden":false,"merged":[]}
["Výpočet střední radiační teploty MRT"]
["Zadání"]
["Velikost místnosti",null,null,"Poloha čidla"]
["X",4,null,"x",2]
["Y",5.2,null,"y",2.6]
["Z",2.8,null,"z",1.4]
[null,null,null,null,null,null,null,null,null,null,null,null,"a1","a2","a1","a2"]
["Výpočet",null,null,null,null,null,null,null,null,null,null,null,"b1","b2","b2","b1"]
[null,null,"t","T4","a","b","a1","a2","b1","b2","c",null,"jI","jII","jIII","jIV","j","T4 *j"]
["Stěna 1 - vpravo",null,30]
["Stěna 2 - vlevo",null,18]
["Stěna 3 - přední",null,18]
["Stěna 4 - zadní",null,18]
["Podlaha ",null,18]
["Strop",null,30]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Sj","MRT"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(Q10:Q16)","v":0}]

{"sheet":"Vysledky","index":1,"n_rows":3,"n_cols":2,"rows_kept":3,"cut":false,"hidden":false,"merged":[[1,15,1,18],[1,10,1,14]]}
["z"]
["m","MRT"]
[{"$f":"+COUNT(A4:A43)","v":0},"°C"]

{"sheet":"Mapa","index":2,"n_rows":31,"n_cols":54,"rows_kept":31,"cut":false,"hidden":false,"merged":[]}
[null,"y"]
["z",0,{"$f":"0.1+B2","v":0.1},{"$f":"0.1+C2","v":0.2},0.30000000000000004,0.4,0.5,0.6,0.7,0.79999999999999993,0.89999999999999991,0.99999999999999989,1.0999999999999999,1.2,1.3,1.4000000000000001,1.5000000000000002,1.6000000000000003,1.7000000000000004,1.8000000000000005,1.9000000000000006,2.0000000000000004,2.1000000000000005,2.2000000000000006,2.3000000000000007,2.4000000000000008,2.5000000000000009,2.600000000000001,2.7000000000000011,2.8000000000000012,2.9000000000000012,3.0000000000000013,3.1000000000000014,3.2000000000000015,3.3000000000000016,3.4000000000000017,3.5000000000000018,3.6000000000000019,3.700000000000002,3.800000000000002,3.9000000000000021,4.0000000000000018,4.1000000000000014,4.2000000000000011,4.3000000000000007,4.4000000000000004,4.5,4.5999999999999996,4.6999999999999993,4.7999999999999989,4.8999999999999986,4.9999999999999982,5.0999999999999979,5.1999999999999975]
[0]
[0.1]
[0.2]
[0.3]
[0.4]
[0.5]
[0.6]
[0.7]
[0.8]
[0.9]
[1]
[1.1000000000000001]
[1.2]
[1.3]
[1.4]
[1.5]
[1.6]
[1.7]
[1.8]
[1.9]
[2]
[2.1]
[2.2000000000000002]
[2.2999999999999998]
[2.4]
[2.5]
[2.6]
[2.7]
[2.8]